## Slide 2: High Altitude NASA-Styled Research by Undergraduates
John Sohl
Weber State University
HARBOR Team
for
Utah State University

## Slide 3: Overview
What is HARBOR?
High Altitude Flight Platform
Low Altitude Flight Platform
Typical Mission
Fun with the BBC

## Slide 4: What is HARBOR?
High Altitude Reconnaissance Balloon for Outreach and Research
A mission oriented team project for the exploration of Earth’s atmosphere.
Multidisciplinary educational platform
Employment training!

## Slide 7
Aerostat
Payload
(2kg, max)
Helium
Winch
Wing

## Slide 8
Lift
Pressure
Drag

## Slide 9
Aerostat
Blimp
Balloon
50+ MPH
Wind stable

## Slide 10: We Don’t Need a Bigger Boat

## Slide 11: Our Aerostat

## Slide 13: Aerostat Goals
Two “campaigns”
  Winter inversions
  Summer ozone
Initial heights 500’ or 1000’, future: 1km (3,300’)
Winter Air Measurements (Bold= sensors are ready.)

## Slide 14: Sensor Suite
Sensor | Operational | Calibration
PM2.5 | ü 0.6% rms FS error | Secondary
NO2 | ü 4% rms FS error | UDAQ
O3, Solid State | ü 3% rms FS error | UDAQ
O3, Ozonesonde | ü | NOAA
SO2 | ü | Pending
CO | ü 0.2% rms FS error | UDAQ
CO2 | Prototype | Pending
VOC | Prototype | Pending
NH3 | ü | None yet
%RH (in/out) | ü | Secondary
Temperature (in/out) | ü | Secondary
Pressure | ü | Secondary
Air Flow | ü | Factory
GPS | ü | Secondary

## Slide 16: The Main Sensor Array
CO
%RH
CO2
Pressure
SO2
O3
NO2
NH3
Temperature
Multichannel
16-bit ADC

## Slide 17: Gas Prep & PM2.5
Heater
Particle Separator
Particle Counter

## Slide 18: The Atmosniffer
Heater
PM2.5 Impactor
CO Sensor
%RH, Temp. Sensor
SO2 Sensor
CO2 Sensor
Pressure
Direction of Air Flow
Inlet from Outside
PM2.5 Optical Sensor
Temp./Humid. Sensors
Mass Air Flow Sensor
NO2 Sensor
O3 Sensor
NH3 Sensor
Exhaust to Outside
Vacuum Pump

## Slide 19: Gotta Get It There

## Slide 20: Storage for Deployment

## Slide 21: First Flight

## Slide 33: Launch Locations
WSU
Ogden (Grant and 32nd Street)
Harrisville (425 West 2550 North)

## Slide 35: A typical High Altitude Flight

## Slide 36: Typical Mission

## Slide 38: Telemetry radios are now in foam

## Slide 39: Close up

## Slide 40
We are in nearly continual contact with the FAA
to insure aviation safety.

## Slide 42
Setting up the old ozonesonde telemetry
receiving antenna.

## Slide 43
Ozonesonde signal verification.

## Slide 44
Preparing for filling the balloon.

## Slide 46
Cut-down device for emergency
cutaway from balloon.

## Slide 48
HAR130602
On the way
to Bottle
Hollow
(water landing)

## Slide 49
What are the odds?

## Slide 50
Computers inside chase
vehicle for flight tracking.

## Slide 51
The balloon is much bigger now.
It is about 18 miles away, almost straight up.
(This photo was taken with a hand-held camera.)

## Slide 52
30km ASL

## Slide 53
Burst.

## Slide 54
Recovery in an alfalfa field.

## Slide 55
A more “typical” recovery.

## Slide 56
HAR120810

## Slide 57: GammaScout

## Slide 58: MSA Data

## Slide 59: MSA Acceleration Data

## Slide 60: Test Chamber

## Slide 61: Test Chamber

## Slide 62: Ozonesonde
Funded by: NASA Utah Space Grant
Ground-based Automatic Tracking Antenna system completed Dec. 2013.
Notes: Dobson units explanation (very good): http://earth.rice.edu/mtpe/atmo/atmosphere/topics/ozone/o3_dobson.html

## Slide 63
Raw Data
Processed

## Slide 64
Ozonesonde Telemetry Live Screen Shot

## Slide 65: Live Tracking

## Slide 66: HiSAM
$1,500

## Slide 68: Fun on the Salt Flats

## Slide 70: A bigger camera platform

## Slide 72: Questions?